## Simulator Medical equipment
# | Item | Specification | Reference Company | Reference Model | QTY | Unit Cost | Total Amount
1 | BLS Adult Torso low fidelity manikin compatible to real time quality CPR feedback training apps | Basic CPR Technique -Adult with real time feedback of quality of ventilation and chest compression using app including video debriefing, Monitor up to six manikins at a time or train one-to-one with Quality CPR Training App. Stay on top of every participant's progress and end the session with an exciting Quality CPR Race. Compatible to AED training with necessary accesaries and bag, Life-like anatomy, Correct compression force, Quick & easy maintenance, Guideline compliant, Real-time CPR feedback, Intelligent scoring and guidance, Connect every manikin to the instructor app with stable and reliable one-click Bluetooth Smart connection. Built-in tutorials and how-to videos, need authorization of dealership. | Laerdal | Little Anne QCPR | 5
2 | BLS Child Torso low fidelity manikin compatible to real time quality CPR feedback training apps | Basic CPR Technique -Child with real time feedback of quality of ventilation and chest compression using app including video debriefing, Monitor up to six manikins at a time or train one-to-one with Quality CPR Training App. Stay on top of every participant's progress and end the session with an exciting Quality CPR Race. Compatible to AED training with necessary accesaries and bag, Life-like anatomy, Correct compression force, Quick & easy maintenance, Guideline compliant, Real-time CPR feedback, Intelligent scoring and guidance, Connect every manikin to the instructor app with stable and reliable one-click Bluetooth Smart connection. Built-in tutorials and how-to videos, need authorization of dealership. | Laerdal | Little Junior QCPR | 5
3 | BLS Infant/Baby low fidelity manikin compatible to real time quality CPR feedback training apps | Basic CPR Technique -Infant/Baby with real time feedback of quality of ventilation and chest compression using app including video debriefing, Monitor up to six manikins at a time or train one-to-one with Quality CPR Training App. Stay on top of every participant's progress and end the session with an exciting Quality CPR Race. Compatible to AED training with necessary accesaries and bag, Life-like anatomy, Correct compression force, Quick & easy maintenance, Guideline compliant, Real-time CPR feedback, Intelligent scoring and guidance, Connect every manikin to the instructor app with stable and reliable one-click Bluetooth Smart connection. Built-in tutorials and how-to videos, need authorization of dealership. | Laerdal | Little Baby QCPR | 5
4 | BLS Family pack of above 3 low fidelity manikins compatible to real time quality CPR feedback training apps | CPR Family pack -adult ,child and infant manikin with inflatable chest for ventilation | Laerdal | Little family pack | 7
5 | AED Training system | AED Training system compatible to above manequines, AED trainer+remote control, AED Plus Trainer, need authorization of dealership. Include carry case and necessary accessorries including adult and pediatric pads. | Zolls | ZOLLS AED | 6
6 | Choking / Foreign Body Airway Obstruction Adult Mannequin | Choking / Foreign Body Airway Obstruction Mannequin, with necessary accesaries, Realistic anatomy and response using simulated boluses provide instructors with an excellent tool for instructing and practicing this lifesaving technique.Lifelike torso manikin, Cast from a human specimen, Heimlich Abdominal Thrust Maneuver training with simulated food boluses |  |  | 3
7 | Neonatal Airway management/Intubation Trainer | Neonatal Intubation Trainer allows teaching of intubation skills on the newborn baby. Robust and realistic, this model allows students to undertake training that is directly transferable to the clinical setting. Realistic anatomy of a newborn baby. Intubation (oral and nasal). Bag-Valve-Mask ventilation. Correct tube placement can be checked by practical inflation test. authorized dealership is needed. carry case and neccesarry accesorries should be included. | Laerdal | Laedral Neonatal Intubation Trainer Item Number 250-00101 | 3
8 | Pediatric/Child Airway management/intubation Trainer | Anatomically accurate reproduction of a pediatric torso designed for teaching the differences in pediatric and adult anatomy for airway management procedures. Anatomically accurate airway Should allow oropharyngeal and nasopharyngeal airway insertion Endotracheal tube insertion and securing Bag-Valve Mask ventilation Tracheal suctioning Manually generated carotid pulse Closed chest compressions Items should include Pediatric Intubation Trainer Manikin Lubricant Carry Case | Laerdal |  | 3
9 | Adult Airway management/Intubation Trainer | Lifelike manikin torso which realistically simulates a patient. Should feature a manually inflatable tongue to simulate an obstructed airway and should be designed for training professionals in the practice of difficult airway management. Features should include 1. Airway Management Manually inflatable tongue to simulate obstructed airway Should allow oral and nasal intubation, Retrograde intubations, Trans-tracheal jet ventilation,Oral and nasal fiber optic intubation Surgical cricothyrotomy,Needle cricothyrotomy Lightwand intubation, Combitube Laryngeal Mask Airway (LMA) intubation Oropharyngeal and nasopharyngeal airway insertion Suctioning techniques Right mainstem intubation Bag/Valve Mask ventilation Stomach auscultation to verify proper positioning Abdominal thrust 2. Cardiac Related Should allow Manual chest compressions Manually generated carotid pulse 3. Surgical airway (crico-thyroidectomy) Cricothyroid Membrane / Neck Skin Collar Re-placeable neck skin and cricothyroid membrane 4. Replaceable lungs Item should include 1. Difficult Airway Trainer 2. Airway Lubricant 3. Neck Skin -20 4. Cricothyroid Tape - 10 5. Tank Top 6. Carry Case 7. Instruction manual | Laerdal | The Deluxe Difficult Airway Trainer (261-10001) | 3
10 | Cricothyrotomy Trainer | Needle and surgical cricothyrotomy skills can be practiced on this model with interchangeable rigid and soft tracheas. Anatomically accurate landmarks for site training Interchangeable tracheas facilitate realistic simulation of needle and surgical, cricothyrotomy procedures, Rigid trachea with simulated lung, Soft trachea with simulated lung, Replaceable neck skin allows repeated practice, Mounted on a base. carry case and necessary accessories. spare parts: provide minimum of 6 replacebale neck skin, 6 adult trachea inserts, 6 child trachea, 2 simulator lungs, |  |  | 3
13 | Professional Defibrillator-AED-Monitor | Professional Defibrillator-AED-Monitor; A professional biphasic defibrillator-monitor, meets the requirements of medical professionals in hospitals and clinics worldwide. The compact, durable, and ergonomic design of D6 makes it suitable for emergency use. Proven technologies ensure a robust unit, ready to be used in different environments. With different operation modes (manual defibrillation, AED, pacer, and monitoring mode) you are in control of any situation. Vital parameters should include ETCO2, SpO2, ECG, Heart rate, Respiratory rate, temp, Blood pressure. Key Features · 4-in-one design including: monitoring, Manual Defib, AED and pacer with both peds and adult size puds · Power on within 2s, Charging to 200J within 3s, ECG recovery within 2.5s · Up to 360J escalating dose energy to maximize defibrillation success · Powerful power capacity with battery to support continuous long time monitoring and shocks during transport without external power supply · Effective IT solution avoiding manual recording, improving efficiency and reducing the workload of clinical staff | MINDRAY-Majority of the hospital across the country has this monitor | Beneheart D6 Defibrilator | 3
14 | Intra-Osseous Trainer | The Intraosseous Trainer is designed for training in infant intraosseous infusion techniques: Intraosseous needle insertion, Aspiration of simulated bone marrow, Replaceable pads are prefilled with simulated bone marrow, authorization of dealership needed. | Laerdal | 80015 | 3
16 | Intra-osseous insertion gun Pediatric | Pediatric Bone Injection Gun Reloadable Intraosseous System | Teleflex | Arrow EZ-IO | 3
17 | Low fidelity Term Infant CPR simulator without feedback system | Includes all of the same quality features as basic Child Crisis Manikin (LF-366654) with the addition of 1) interactive ECG arrythmia simulator, 2) BP arm, 3) Difibrillation chest skin, 4)femoral access leg, 5) intraosseous infusion, 6) IV arm, 7) Palpable carotid pulse, 8) laryngospasm (manual), 9) tongue edema (manual). | Nasco | LF 0398 (deluxe child crisis manikin with advanced airway management). | 6
18 | Low Fidelity Term Newborn ALS Simulator including vascular access and airway management | based on 36+ week baby Weight 2.2g approx.Ethnicity – Caucasian Step wise airway management with mouth, upper airway and lungs enabling bag/valve/mask, oropharyngeal airway, supraglottic airway and ET tube intubation. CPR compatible Carry bag – wipe clean Options: Hand punched hair Umbilical cord – cannulatable with flashback Intraosseous access Ethnicity options available on request | Lifecast | LIFECAST ALS FULL TERM BABY | 3
19 | High Fidelity Preterm Newborn ALS Simulator with interactive patient monitoring | Premature Anne, when paired SIMPAD PLUS helps place learners in scenarios that stimulates real life expreince. | Laerdel | Premature Anne with SIMpad Plus | 1
20 | Low Fidelity Preterm Newborn ALS Simulator including vascular access and airway management | Lifecast. Based on 28-29 week baby Weight 950g approx. Ethnicity – Caucasian Step wise airway management with mouth, upper airway and lungs enabling bag/valve/mask, oropharyngeal airway, supraglottic airway and ET tube intubation. CPR compatible Umbilical Cord – cannulatable with flashback Carry bag – wipe clean Options: Hand punched hair Ethnicity options available on request | Lifecast | LIFECAST ALS PRETERM BABY | 3
21 | Micro Preemie, Extreme Preterm, Low Fidelity simulator for wide range of scenarios | Premature Anne™ is a realistically proportioned 25-week preterm manikin developed in collaboration with the American Academy of Pediatrics (AAP). Premature Anne is designed to facilitate the training of healthcare professionals in the initiation of proper care and resuscitation of preterm infants. | NASCO | LF03981 | 3
22 | ATLS Mega Code Trauma Full body Simulator | Advance Trauma Life Support- Megacode station, a durable, rugged training manikin with an intubation head for advanced airway management training and realistic articulation allowing the manikin to be placed in various settings for extrication or rescue.Intubation head with improved airway allows for insertion of standard airway devices with the addition of LMA, Combitube and the King LT, Head can be tilted forward, backward or rotated 90 degrees to either side, Right mainstream intubation, Oropharyngeal and Nasopharyngeal airway insertion Bag valve mask ventilation, Stomach auscultation to verify proper airway positioning, Manually generated carotid pulse, Articulated body for full range of motion, realistic size manikin (162.5cm) withOptional trauma modules may be added to enhance realism in scenarios, BTLS Victim Injury Set, Advanced Trauma Module Set, Trauma Module Set, NBC Module, Bleeding Trauma Modules, Full body carry case available for storage and transport | Laerdal | Mega code kelly simpad plus | 3
23 | Venipuncture and Injection Arm: Skin and Vein Replacement Kit - Light | Venipuncture and Injection Arm: Skin and Vein Replacement Kit - Light. 1005688 [W44243] | 3B scientific | https://www.3bscientific.com/advanced-venipuncture-and-injection-arm-skin-and-vein-replacement-kit-light-1005688-w44243-lifeform-lf01122u,p_1353_5064.html?searchinput=venipuncture&searchword=venipuncture | 2
24 | Intradermal Injection Simulator | Intradermal Injection Simulator- forearm. Constructed with Vinyl skin to provide realistic feel and appearance to ensure a realistic training experience with eight sites for practicing intradermal injections with a formation of characteristic skin welt when fluid is properly injected. Supplied with sealant, syringe and storage box.1005628 [W44097] | 3B scientific | https://www.3bscientific.com/intradermal-injection-simulator-1005628-w44097-lifeform-lf01008u,p_34_4970.html | 2
25 | Basic IV Arm | Venipuncture Arm, White Training arm for venous access for phlebotomy and IV with simulated veins and skins, 8-line vascular system including basilic, cephalic, accessory cephalic, and median antebrachial veins which can be palpated. Supplied as complete set including artificial blood, fluid supply bag, fluid supply stand and storage box. 1005678 [W44216] | 3B scientific | https://www.3bscientific.com/advanced-venipuncture-and-injection-arm-white-1005678-w44216-lifeform-lf01121u,p_34_5051.html?searchinput=phlebotomy%20arm&searchword=phlebotomy¦arm | 3
26 | Prompt flex birthing simulator with force monitoring: advanced (dark color) | Features: 1. Bluetooth enabled baby for force monitoring during shoulder dystocia drills 2. Free, downloadable Birthing Simulator software allows trainees' actions and interventions to be recorded during drills, with time to deliver baby 3. Software compatible with Windows, PC, iOS and Android devices 4. Realistic pelvic floor, stretchable perineum, soft, flexible birthing canal 5. Can be used for normal, breech, shoulder dystocia management, instrumental (forceps and vacuum delivery), delivery of placenta, cord prolapse, urinary catheter placement, IM Injection pads, force feeback of baby.s head, App with sceanrios and force monitoring. 6. Model no for dark: 80206 7. Additional modules that can be purchased for extend training: Post Partum Hemorrhage management.,C-section,Cervical dilation and effacement, lower legs available for all fours position. From limbs and things(https://limbsandthings.com/global/products/80206/80206-prompt-flex-birthing-simulator-advanced-dark/) | Limbs and things (closer to life) | PROMPT Flex Advance:80206 | 3
27 | hand held vacuum a)Kiwi vacuum extractor(omni-C cup) | 1. Specifically used for cesarean section deliveries during floating head cases. 2. The pressure can be built in the hand and no need of any external pressure source. 3. The device can build a pressure close to 700 mm hg. 4. Other end of delivery cup has got a vacuum release button in order to release the pressure built once the procedure is done. (https://www.krishcomedicalproducts.com/vacuum-assisted-delivery-systems.html) | Krishcomedicalproducts | Kiwi OmniCup: VAC 6000M | 9
28 | hand held vacuum b)Kiwi vacuum extractor(Pro cup) | The Kiwi ProCup is for use with low occiput anterior and outlet presentations. The soft flexible cup expands and molds to the fetal head which increases cup contact area on the fetal scalp. | Krishcomedicalproducts / clinical innovations | VAC-6000S | 9
29 | Bag Valve Mask, Adult | Bag Valve Mask resuscitator with detachable O2 reservoir with pressure reliefe valve for adult |  |  | 20
30 | Bag Valve Mask, Young Adult | Bag Valve Mask resuscitator with detachable O2 reservoir with pressure relief valve for yound adult |  |  | 20
31 | Bag Valve Mask, Child | Bag Valve Mask resuscitator with detachable O2 reservoir with pressure relief valve for child | AMBU | Mark IV reuseable resuscitators | 20
32 | Bag Valve Mask, Infant | Bag Valve Mask resuscitator with detachable O2 reservoir with pressure reliefe valve for infant | AMBU | Mark IV reuseable resuscitators | 20
33 | Bag Valve Mask, Neonate/Preterm | Bag Valve Mask resuscitator with detachable O2 reservoir with pressure relief valve for neonate/preterm | Laedral | Item No. 85005533 | 20
34 | Macintosh Laryngoscope (Fiberoptic) set | Macintosh Laryngoscope (Fiberoptic) set (with light source at the handle) set sizes 0, 1, 2 3, and 4 |  |  | 3
36 | Miller Laryngoscope Set | Miller Laryngoscope (Fibreoptic, with light source at the handle) 00,0, 1, 2 sizes |  |  | 3
37 | Mccoy Laryngoscope Set | Mccoy Laryngoscope Set (fibreoptic with light source at the handle) and blade size 1. 2, 3 and 4 | Penlon | https://www.penlon.com/Product-Groups/Laryngoscopes/McCoy-Range | 3
38 | LMA classic(Laryngeal Mask Airway) | PVC LMA Classic airway Tube, size no 1,1.5, 2,2.5, 3, 4, 5 , reusable |  |  | 3
39 | LMA proseal | Set of different sizes LMA (1, 1.5, 2, 2.5, 3, 4, 5) |  |  | 3
40 | Intubating LMA | set of different sizes LMA ( 3, 4, 5) |  |  | 3
41 | Igel LMA | Set of different sizes LMA (1, 1.5, 2, 2.5, 3, 4, 5) |  |  | 3
42 | Starsys Difficult Airway Cart | Difficult airway cart One main unit with minimum of 5 drawer and interchangeable internal compartment to fit various difficult airway management equipment like Endotracheal tube, stylets, laryngoscope, supraglottic airway devices, and one compartment should have drawer divider for emergency medicines. Unit side mount for Oxygen cylinder holder, manual jet ventilator with regulator, enclosed bronchoscopy holder, Should be freely mobile with castor wheels, and braking system with locks. | Starsys | Starsys Difficult Airway Cart | 1
43 | Disposable Nasopharyngeal Airway Set with wide rage of different sizes | Disposable Nasopharyngeal Airway (NPA) , Flexible PVC tubes with nasal gaurd on proximal end and smooth bevel on the patient end. Should have 9 peice set size rangimg from 20 fr to 36 fr |  |  | 6
44 | Oropharyngeal Airway Set with wide rage of different sizes for Pediatric | PVC Guedel Pattern Airway Oropharyngeal Airway (OPA)Set ,size 1-5, OPA should have reinforced bite block, flange to limit the depth of insertion, tappered and smooth edge to reduce oropharyngeal muscus trauma, regid kink resistant curve. The set should contain complete range from 000 to 6 with colour coding |  |  | 6
45 | Bougie set Pediatric | Gum elastic bougie with 1-2cm bend and smooth blunt tip to prevent trauma, with length of 60 cm, size of 5, 6 fr, 10fr, 15 fr as a set, Bougie for Intubation-pediatric tracheal tube introducer sizes 5,10 |  |  | 6
46 | Tube exchanger set | should have complete marking with oxygen delivery port, and the set should contain complete set of size ranging from 5, 10, 15 fr with varying length of 500mm to 700mm |  |  | 3
48 | Quicktrach set | Size 4mm: sterile pack set containing syringe with stopper, one connecting tube with 15 mm adaptor, one cushion neck band, cricothyroitomy needle with conical canula. |  | Quicktrach | 3
49 | Quicktrach set | Size 2mm: sterile pack set containing syringe with stopper, one connecting tube with 15 mm adaptor, one cushion neck band, cricothyroitomy needle with conical canula.2 |  | Quicktrach | 3
50 | Jet Ventilation | Manual jet ventillator: should have gauge, trigger, connecting tube and pressure regulator with adjustable pressure between 0-3.5 BAR. Regulator should have lock in mechanism. there should have pressure hose of 4 meter long for connecting to oxygen source. | VBM | Manujet III/Jet-Ventilation Catheter | 3
51 | Handheld doppler ultrasound scanner using smartphone | hand held ultrasound to scan multi organs including airway in trauma cases. specs: probe: 4-12 megahertz extended operating frequency, coloured doppler M mode, USB C transducer with replacible cable. display: Compatible tablet. | Butterfly Network | Butterfly iQ+ | 1
52 | Manual Suction | An effective and powerful manual suction pump for the quick suction of fluids from the oro- and nasopharyngeal cavities in emergency situations. -Portable and lightweight -Always ready for use as independent from any energy source -Easy to squeeze with maximum performance -Disposable/reusable sterilizable collection canisters for adult and children -Soft and atraumatic suction tips -Valve prevents backflow of liquids to the patient -15 mm I.D. connection- -allows connection of included suction tips -allows connection of included catheter adapter for funnel shape suction catheters Set With canister for adult and child, 3x suction tips (large, medium, small) and catheter adapter (for funnel shape suction catheters) spare parts include atleast 5 suction catheters of each sze and canister |  |  | 10
53 | Mucous extractor | Pengiun suction device( LaerdalPengiun suction device) | Laerdal | Penguin newborn suction reusable autocla.(int). Item Number98600060 | 10
54 | Light Weight Flexible Splint | Light Weight Flexible Splint - Different sizes for all. Splint leverages the revolutionary C-Curve™ Principle to mold its foam and aluminum layers into structural arcs, strong enough for pre- or post-cast care, while remaining lighter and more transportable than traditional splints that rely on heavy, rigid materials. Bend it back into its original form to stow away or remold for a separate injury. |  | SAM Splint | 6
57 | Pelvic C-Clamp | Pelvic C-Clamp; Emergency Stabilization Instrument for Unstable Injuries and Fractures of the Pelvic Ring | synthes company |  | 3
58 | Pelvic Binder | Pelvic Binder; great tool for prehospital stabilization of pelvic fractures, The 3 straps are adjustable to assist with pressure area care and longevity of the binder. straps are adjustable for both adult and pedratic patients. | metro orthotics company |  | 3
59 | Outdoor plastic wound replica set | Set of replica wounds and accessories for realistic casualty simulation, Wounds can be attached in seconds, Use for training the first aid treatment of common wounds while outdoors |  |  | 3
60 | Trauma Moulage Multiple Casualty Simulation Kit | More versatile than the basic kit, this unit gives you more complex wounds for testing higher levels of skill in bandaging and patient care, while keeping initial expenditures low. Three-year warranty. Contents: Bleeding strap-on wounds complete with reservoir bags with pump assembly, 1 open amputation, 1 compound fracture of tibia, lower leg, 1 compound fracture of humerus, upper arm, 1 sucking wound of chest, wound of abdomen with evisceration 1 gunshot wound of palm, Makeup Accessories: 1 bottle coagulant makeup blood, 3 spatulas, 1 pkg. of methyl cellulose for blood thickening, 3 wood tongue depressors, 3 packages powder to make three gallons of simulated blood, 1 casualty simulation wax, 1 body adhesive for stick-on wounds 1 atomizer mist sprayer, 24 assorted stick-on lacerations and open fracture wounds, 1 pkg. broken Plexiglas® for simulating glass embedded wound, 1 ea. grease paint colours: white, blue, brown, and red, Size: 21 in. x 12 in. x 10 in. |  |  | 3
62 | Long spineboard with all stripes, immobilizers and backboard-pads | Long Spinal Backboard- Different sizes with back stripes with head immobilizers, Engineered for maximum strength and designed for both patient and provider comfort, rigid and lightweight and easy storage. Laerdal Baxstrap Spineboard provides the highest quality and most comfortable care for patients requiring immediate emergency spinal care. As one of the lightest, most rigid boards on the market, the Baxstrap Spineboard prepares providers for any situation. The durable and uniquely contoured design, matched with our private labeling option, makes the Baxstrap Spineboard the premium spine board on the market.The backboard-pad is a 4 cm thick foam pad that can be used with any type of backboard and will not slip due to anti- skid traction. The pad includes three insets for backboard straps to ensure that patient's torso does not move. including Head Immobilizer. | Laerdal | BaXstrap Spineboard | 4
63 | Multi Purpose Electronically Operated Operation Theater Table | Operating table: Table height: 22.8” to 42.5”; Table sliding range 9” to head and 9” to foot (18 inches total); 450-550kg patient support, including raise/lower (centered on the column), 400-500kg full table articulation (centered on the column), 250-300kg full table articulation, including slide; Trendelenburg/reverse 30°/30°, Longitudinal shift and reverse mode- longitudinal shift of up to 460 mm , Lateral tilt (Left/Right) 20°/20°, Head section +90° to -90° (15°increments), Back section +80° to -40°, Leg section 0/-105° (double removable leg plates ); Pivot at the center | Takeuchi |  | 1
64 | Sager traction | One person application - frees second rescuer to attend to other patients needs or procedures. Ready for use (nothing to assemble). One rescuer can splint bilateral femoral fractures very quickly. Universal application - single or bilateral, adult or child. Can be applied in any patient position. Patient can be moved to any position with splint in place. Compatible with back boards, stretchers, baskets. Fits bare ankle, shoe, ski boot, work boot, or any other foot or leg apparel. Light in weight, small in storage size. Allows parallel foot and leg positioning. Pedal binding (figure eight strap) controls internal and external rotation. Controlled one way inner shaft extension. Prevents excessive traction. Traction is quantifiable, a positive consideration for medical legal purposes. Does not require foot to be elevated Anatomically allows for natural body alignment. Can be applied in a confined space. Easy access to Dorsalis Pedis pulse. No Sciatic Nerve compression (neuropraxia). Ideal for proximal third or intertrochanteric fracture (hip fracture). Easy access to Posterior Tibial pulse. Traction remains positive. Counter traction design permits movement and lifting without slippage of traction device. Traction device can be applied with minimum movement of fractured leg(s). Maximises patient comfort. Secures and packages patient for optimal transportation. No body weight limitation |  |  | 3
65 | Infant Choking Manikin with Carry Bag | Full-body, infant manikin trains students to clear foreign objects from an infant airway | Laerdal |  | 3
66 | Child Choking Manikin with carry bag |  | Laerdal |  | 3
67 | Bag valve mask for extreme preterm |  | Ladreal |  | 10
68 | Pediatric Emergency Tape | Precalculated dose in mg as well as precalculated ml. this tape will accomodate for obesity by allowing for habitus adjustment if dim appropritate. Provides accurate of ideal body weight. Update with essential medicine for both EMS and ER. Contains separate section on quick access medicine. |  | Broselow™ Pediatric Emergency Tape | 6
72 | Breastfeeding and hand expression trainer | Highly realistic simulation of breastfeeding and breast milk expression. Can be used as an counselling tool for new parents. Supports training in proper breastfeeding positioning and attachment and breast milk expression. Can use with PreemieNatalie Preterm Simulator to practice essential newborn care and Kangaroo Mother Care. Can use with MamaNatalie Birthing Simulator for a complete birthing and initiation of breastfeeding scenario. Now comes with a Nify Feeding Cup to support practice of proper cup feeding techniques. https://laerdalglobalhealth.com/products/mamabreast/ | Laerdal | Mama Breast | 6
73 | Postpartum Uterus Trainer | The model has all relevant anatomical features like fundus, cervix and perineum along with possibility to extend the uterus (relevant for insertion of postpartum IUD). The uterine angle can be changed by applying pressure to the model. It is possible to practice “blinded” placements and lift cover of the uterus to evaluate placement. Together with Sister-U, Mama-U was designed to complement family planning trainings and act as counselling aids for healthcare workers. (https://laerdalglobalhealth.com/products/mama-u/) | Laerdal | Mama-U Postpartum Uterus Trainer | 10
74 | Multi-Uterus Trainer | Together with Mama-U , Sister-U was designed to complement family planning trainings and act as a counselling aid for healthcare workers. Can be used on a tabletop or attached to the body for practicing respectful care and communication. The uterus modules can be removed from the frame and be used as demonstration tools. The large uterus can be used as a postabortion uterus or a multi-parous uterus. The small uterus can be used for IUD insertion and removal training on an interval or an early post-abortion uterus. (https://laerdalglobalhealth.com/products/sister-u/) The uterus plate of Sister-U can be flipped to demonstrate different uterine angles. Sister-U can be used with a variety of reproductive health methods such as cervical rings and diaphragms. Sister-U's carrying case can be worn on the shoulder or converted into a backpack. | Laerdal | Sister-U Multi-Uterus Trainer | 7
75 | Sphygmomanometer Aneroid Type Manual Blood pressure monitor with stethoscope | Brand Dr Trust Item Dimensions LxWxH 18.5 x 11 x 7.5 Centimeters Item Weight 450 Grams, set | Dr Trust (USA) |  | 20
76 | Reflex Knee Hammer for Doctors | Reflex knee hammer | IS IndoSurgicals | 15403N | 5
77 | Uterine Pelvic Model Trainer (for MVA) | Velcro patch on uterine interior simulates tactile sensation of evacuated uterus Plexiglass base with suction cups to ensure stability Lightweight and portable: measures 25 x 25 x 18 cm (10 x 10 x 10 in) approximately | DKT International/sawbones | Sku: 1302-10 | 5
78 | Clear utreus for uterine pelvic model transparent | comes as a spare with uterine pelvic model trainer for MVA | Sawbones | Sku: 1488 | 7
79 | Electric Surgical Suction Pump | indication of pressure of absorption: raznotsvetno the coded manometer for simple orientation. Separate regulator of power of absorption; Separate switch of the modes: suction for artificial interruption of pregnancy and standard suction; Absorption pressure: 0 - 102 kPa, smoothly adjustable; Use of three capacities united by one system; Capacity: 0.5 l, 1.5 and 3 l with the valve for prevention of overflow. The capacities autoclaved with a screw lock; Material - polycarbonate. The transparent hose allows to observe and control aspiration process; In a set special set of accessories to pregnancy interruption; Stream speed: 55 l/min. Noise level: 40 dB; The ergonomic integrated mobile rack on 4 wheels. Existence of a foot pedal; Connecting silicone hoses - 3 pieces and tubes with a diameter of 3.35 mm and 4.7 mm and long 50 cm; nozzles for interruption of pregnancy and operational cannulas - 5 pieces; cover; Dimensions (width x length x height): 450 mm x 440 mm x 830 mm. Weight: 30 kg. (https://www.medicalexpo.com/prod/atom-medical-corporation/product-67679-433267.html) | ATOM | VP-450 | 1
80 | Slicone Vacuum Cup for electric surgical suction pump | Cup with a diameter of 40mm,50mm and 60mm; Material Silicon, Compatible to VP-450, Size 40mm, 50mm,60mm as a set | ATOM | for VP450 | 3
81 | laparoscopic simulator | The ProDelphus trainer is made of Neoderma. “Surgical Neoderma” is a malleable, cost-effective, atoxic and moldable material. Furthermore, it does not compromise the quality of instruments (telescopes, forceps etc.). Special Features: The trainer consists of a body simulator and several organs made of surgical Neoderma, providing a feeling of authenticity If the trainer is used at moderate temperatures (between 18 and 32 °C) in a dry room, the material can last up to 2 years. A mixture of various polymers contains 36 differ- ent materials that can be used to replicate almost all human organs. This is why the ProDelphus trainer is considered to be one of the best pelvic trainers available. The replicated peritoneum and abdominal wall allows for training with instruments under realistic conditions. Laparoscopic Simulator, for laparoscopic and robot-assisted surgery, including the urinary tract, complete including: Body Laparoscopic Simulator Neoderma Organ, liver, Neoderma Organ, spleen, Neoderma Organ, stomach, Neoderma Organ, peritoneum Neoderma Organ, bowel, Neoderma Organ, abdominal wall Neoderma Organ, cul-de-sac, Neoderma Organ, vaginal block Neoderma Organ, uterus, Neoderma Suturing Model, basic training, Spare Parts and Accessories for Laparoscopic Simulator should be included. Neoderma Organ Insert, abdominal wall, Neoderma Organ Insert Set, with bowels and organs | Simbionix LAP Mentor or KARL STORZ( 3rd option),SZABO-BERCI-SACKIER laparoscopy simulator(2nd option) LYRA laparoscopic simulator,26344L2( 1st option) |  | 2
82 | Difficult Airway Management Simulator -Assessment System- | 1. Features 1.Objective feedbacks are given in two ways:/- Intubation result: assesses life-saving technique/Skills assessment: assesses patient experience 2.Assessment criteria feedback is quantitatively monitored and displayed./ Each session can be saved and stored for review and debrieﬁng./- Skills assessment: assesses patient experience 3.A variety of diﬃcult airway conditions can be set by touch panel control. Convenient all-in-one unit 2. Training skills / Applications Tracheal intubation Intubation and ventilation on diﬃcult airways 3. Case / PathologyNormal LockJaw Rigid Neck Micrognathia 4. Set includes SET INCLUDES/1 unit base/including 1 video camera/1 monitor, 1 manikin/1 printer/1 stereo mini plug/1 keyboard/1 lubricant for manikin/1 instruction manua | Kyoto Kagaku | MW11 | 1
83 | Difficult Airway Management Simulator -Training model- | 1. Features: 24 variations of patient scenario (including 1 normal case): 3 stages of mouth opening, 2 stages of neck ﬂexibility, 2 tongue sizes and 2 positions of the vocal cords 2. Upper incisors are designed to break oﬀ when excessive force is applied. 2. Training skills / Applications Airway opening techniques (head tilt, jaw thrust) Bag-Valve-Mask ventilation Pre-intubation airway assessment Recreating the sniﬃng position Pressurization of external larynx to improve the laryngeal view Intraoral/Intranasal Intubation Use of oropharyngeal airway (OPA) Use of nasopharyngeal airway (NPA) Use of laryngeal airway mask Use of video laryngoscope Conﬁrmation of successful ventilation by: -observation of thoracic and abdominal movement (lung expanding, stomach inﬂating) or auscultation of the chest Simulates incorrect procedures including intubation in the esophagus and unilateral intubation Practice securing tubes after intubation 3. Case / Pathology Variation of DAM Setting Neck Flexibility (Life-like jaw movement) Mouth Opening/ - Normal /- Intermediate /- Diﬃcult Tongue/ - Normal/- Swollen Laryngospasm/ - Normal/ - Laryngospasm 4. Set includes 1 manikin/ 3 upper incisors/ 1 lubricant/ 1 syringe/ 1carrying bag/ 1 instruction manual | Kyoto Kagaku | MW13 | 1
84 | Pediatric Lumbar Puncture Simulator II | This Pediatric Lumbar Puncture Simulator has been designed by medical education experts to enhance formal LP procedural skills training and assessment. It allows students and medical professionals to practice frequently and achieve high levels of procedural competence without placing any patients at risk of harm. Closely simulates the lumbar anatomy including the anatomical landmarks. Provides life-like sensation of both skin and tissue resistance to the spinal needle. Simulated CFS (water) can be collected and measured. The simulator is designed for training in catheterization. Do not use for improper purpose. Please read the instruction carefully before use. Do not use the system in a way other than hereinafter prescribed by manufacturer. Skills & Trainings Features: Patient positioning (Sitting and lateral) , Palpation of landmarks, Sterilization and local anesthesia (procedures only) Lumbar puncture and CSF collection, CSF pressure measurement. | Kyoto Kagaku | M43D | 1
85 | 3D Colonoscope Training Simulator NKS | Three dimensional representation of colon, based on analytical study of CT Colonoscopy (CTC) data The three dimensional structure of the colon provides hands on training in a variety of skills such as prevention of loop forming, reduction of loops including a loop at LCF as well as insertion technique which forms a loop intentionally. Features: 1. Transparent skeleton body allows direct observation of the position of the tip of the scope as well as form of the colon.2. Stable rectal anatomy: the simulator is designed to acquire colonoscopy skills that use three Houston’s valve as landmarks, which appear at the same position every time. 3. The sigmoid colon can be pre-set to take up any one of the three most common morphologies, which are deprived fromanalysis of CTC. The patterns can be changed quickly by sliding attachments and moving the colon tube. 4. The simulator is entirely water-resistant and can be cleaned easily by water. Light weight and compact, facilitating handling and transportation. Skills that can be trained includes: Colonoscope insertion in three fundamental patterns: -Short alpha loop (pull back technique) -Long alpha loop (push forward technique) -N loop (pull back/push forward technique) Colonoscope insertion in three patient positions: Left lateral, Right lateral, Spine, Manual abdominal compression | Kyoto Kagaku | MW39 | 1
86 | EGD Endoscope Training Simulator | An endoscope can be inserted into the upper gastrointestinal tract to perform examinations. Both transoral and transnasal insertion can be practiced. For the transnasal insertion, the difficulty setting of insertion can be changed by placing the nasal septum pieces to deviate to the right or the left side. Practicing endoscopic examination of the esophagus, stomach, and duodenum is possible. It is also possible to practice cannulation of the papilla during endoscopic retrograde cholangiopancreatography (ERCP). Gastric ulcers and early gastric cancer can be observed in the stomach. Four types of Yamada classification types 1-4 can be attached for observation. Practicing polyp resection and control of bleeding from it. After resecting it, one can practice the clipping method to stop the bleeding. The face portion can be opened at the midline to show the anatomical structure of the nasal and oral cavities and the larynx. A dedicated box for packaging the product is required. The simulated polyp as options for the product is required. | Koken | EGD LM-103 + options LM103A(simulated polyp) | 2
87 | Fetal heart rate doppler | The Huntleigh Sonicaid FD1 Heart Rate Display Doppler with fixed 2MHz waterproof probe is a versatile obstetric doppler with the added benefit of a clear LCD display that indicates the fetal heart rate. The fixed 2MHz waterproof transducer supplied with the FD1 is suitable for use in water births and a headphone socket allows for private listening when required. The FD1’s active noise reduction ensures crystal clear audio. • Advanced foetal heart rate processing • Active noise reduction for crystal clear foetal heart sounds • Waterproof probes suitable for water birth use • Advanced power management to conserve battery life • Easy clean probe for improved infection control • Auto power down to conserve battery life • Requires 1 x 9v battery • * 5 year warranty on main unit, 1 year on cable and probe head Specifications • Probe frequency : 2MHz • Probe Length: 3.5m (extended) • Dimensions: 140x 27mm • Weight: 295g | Huntleigh Sonicaid | Huntleigh Sonicaid | 3
88 | Ventilator simulator | Ventilator-grade spontaneous breathing (passive to 100 bpm) with Muscle Pressure from 0 to -100 cmH₂O (0 to -30 cmH₂O for Baby mannequine), Tidal Volume 2.5 L, Connect to any ventilator – just as you would a real patient, Use with any mode of ventilation including Pressure/Volume Control, Pressure Support, Jet Ventilation, APRV, PAV, HFOV, NIV, SIMV, Compliance – 0.5 to 250 mL/cmH₂O (0.5 to 15 mL/cmH₂O for Baby mannequine), Resistance – 8 to 150 cmH₂O/L/s (23 to 250 cmH₂O/L/s for Baby mannequine), Holds PEEP from 0 to > 20 cmH₂O, Easily activate pre-programmed respiratory conditions with variable levels of severity including Normal, Asthma, ARDS, Interstitial Lung Disease (ILD), COPD, respiratory syncytial virus (RSV), and broncho-pulmonary dysplasia (BPD), and COVID-19 lung complications, Lung parameters can be changed during scenario remotely, which have an immediate impact on the ventilator, Set independent inspiratory and expiratory resistances, Fully integrated with LLEAP interface to provide learners with additional patient information such as blood pressure, heart rate, SpO₂, etCO₂, respiratory rate, lung sounds, and more, Simulate scenarios with a spontaneously breathing patient supported on a ventilator. View simulator created patient-ventilator interactions, Adjustable (I:E) ratio. Inspiratory Time from 0 to 20 seconds and Expiratory Time from 0 to 20 seconds, Real-time display of waveforms and graphics, Create and save an unlimited number of user-defined respiratory conditions including pneumothorax, bronchospasm, pneumonia, cough, cystic fibrosis, flash pulmonary edema, and more. View a larger scope of training applications, Simulate scenarios where patient conditions change over time. Simulation scenario and software setting should include adult, paediatric, neonate and COVID-19 patients. Power supply: AC 220-230V, 50-60Hz; Power cord with 3 round pin top | Laerdal | ASL 5000 | 1
89 | Ventilator simulator | Mobile/Tablet applicaiton that can be simulated ventilator graphic monitor and setting along with patient monitoring vital parameters including endotidal CO2 | Laerdal | TruVent | 1
91 | Video laryngoscope | Video intubation laryngoscope: Anti-fogging mechanism; Integrated high resolution camera and colour monitor of 7 inch screen; Video output/recording features; Video laryngoscope with each reusable blade size: Cmac macintosh 4, 3 ,2 and 0, C mac miller 1 and 0, C mac D blade and D blade ped; flexible intubation video endoscope 5.5 X 65: 4 X 65; 3 X51.5 ; Inbuilt rechargeble battery backup; Power supply: AC 220-230V, 50-60Hz; Power cord with 3 round pin top and stand to mount monitor | Karlstorz | Cmac | 1
92 | Flexible intubation Video endoscope | flexible intubation video endoscope size 5.5 X 65: size 4 X 65; size 3 X51.5; compatible with C mac monitor | Karlstorz | Karlstorz Five | 1
93 | Pediatric IV hand | Higher skills trainer to puncture and to perform IV procedures safely in small infant hands which have thin, soft, difficult-to-find veins. This simulator should be an effective tool providing hands-on training with life-like simulator. The back of the hand and fingers are flexible to be gripped or pulled as in real procedures. There are two puncture sites on the back of the hand. Fixing procedure also can be practiced. Feature:1. The back of the hand and fingers are flexible to be gripped or pulled as in real procedures. 2. Resistance of the hand and veins felt through the injection needle simulates what occurs in a real human infant. 3. Accurate layout of blood vessels. 4. Two puncture sites are prepared for practice. 5. Special circulation pump reproduces the human blood flow circulation. 6. Back flush of the simulated blood into the injection needle can be observed. 7. Arm-hand unit is replaceable. 8. Special angle-adjustable stands facilitate practice in the proper position. 9. No puncture traces remain. 10. One-touch, leak free connections. 11. Quiet pump. 12. Easy clean up.Set should include; 2 Injection Arm-hands (one year old) 2 Injection Arm-hands (three year old) 2 Stands 1 Circulation Pump 1 Jar of Coloring Powder (red) 1 Spoon 1 Plastic Jar 1 Plastic Beaker 1 Carrying Case, replacement injection arm hand for 1 year and 3 year old. | Kyoto Kagaku | M95 | 2
95 | High Fidelity baby Simulator with interactive patient monitoring compatible to mechanical ventilation simulator | Compatible to 88. Normal & Difficult Airway Airway opening acquired by head tilt, chin lift and jaw thrust, Oropharyngeal and nasopharyngeal airways, Bag-Valve-Mask ventilation, Orotracheal and nasotracheal intubation, Cricoid pressure / Laryngeal manipulation, LMA insertion, Endotracheal tube insertion, Fiberoptic intubation, Gastric tube insertion, Variable lung compliance, Variable airway resistance, Tongue edema, Laryngospasm, Pharyngeal swelling, Right mainstem intubation • Gastric distention, Pulmonary System • Spontaneous breathing with variable rate, depth and regularity • Bilateral and unilateral chest rise and fall • Bilateral or Unilateral breath sounds: Normal, fine crackles, stridor, wheezes and rhonchi • Lung Sounds: Normal, fine crackles, stridor, wheezes and rhonchi • Oxygen saturation • See-saw respiration • Retractions • Pneumothorax • Unilateral needle thoracentesis midclavicular • Unilateral chest tube insertion Cardiovascular System • Extensive ECG library with rate from 20-360 • QCPR • CPR compressions generate palpable pulses, blood pressure waveform, and generate artifacts on ECG • Heart Sounds: Normal, systolic murmur, holosystolic murmur, diastolic murmur, continuous murmur and gallop • Blood pressure (BP) simulated on patient montior • Pulses: Bilateral femoral and brachial • Pulse strength variable with BP • Display of cardiac rhythms via 4-lead ECG monitoring • 12-lead dynamic ECG display • Live defibrillation, pacing, and cardioversion using Shocklink and training pads • Anterior and posterior defibrillation pad placement Vascular Access • Venous access antecubital fossae, dorsum of the hand and long saphenous vein • Bilateral IO/IV insertion legs • IV bolus and infusion Other Features • Seizures: Head and arms • Reactive eyes - Normal, constricted and blown (dilated) pupils • Capillary refill - Left hand and sternum • Fontanelle - normal and bulging • Moving arms: limp, tone, spontaneous motion • Vocal Sounds: Crying, content, coughing, and hiccup • Liver palpation • Cyanosis Simulated Patient Monitor • Highly configurable patient monitor • Simulate several parameters including: ECG, SpO2, CO2, ABP, CVP, PAP, NIBP, TOF, and others • Multimedia capability: Radiology files, Media files, Lab results • Touchscreen operation Software Features • Easy to operate software (LLEAP) • Manual control over all parameters • Web-camera recording • Review event log together with synchronized recording of patient monitor and in-room video Set includes • mannequine • Clothing set • AC Charger with regional power cables • Consumable replacements for IV, IO, and needle decompression • Airway lubricant • Silicon tape • Drainage bags for IV and IO • LAN cable and connector • 60ml syringe • User guide and Important Product Information • 4 generic scenarios Operation and Patient Monitoring Options SimPad Plus LLEAP Laptop Instructor PC Instructor PC-Patient Monitor Accessories Cable ethernet flat, LAN connector, C/DC Power 12V-75V, ShockLink Only SPO2 probe, USB SPO2 Probe interface | Laerdal | SimBaby | 1
96 | Mechanical ventilator | Ventilator, ICU with air compressor: Modes of ventilation: Assist/control, SIMV, BIPAP; Spontaneous breath types: VCV in A/C or SIMV, PCV in A/C or SIMV, PSV SPONT or SIMV, include facility for respiratory mechanic (e.g. to measure negative inspiratory force, etc); Mandatory settings: Ventilation frequency: 2-80bpm; Inspiration time: 0.2-10s; Tidal volume: 40-2000mL; Inspiratory flow: 0-180L/min; Inspiratory pressure: 5-100cmH2O; PEEP: 0-35cmH2O; Plateau: 0-2 seconds; Flow pattern: square or decelerating ramp; Oxygen concentration: 21-100%; Trigger sensitivity: 1-20L/min; Operation: Set alarm limits: Heart rate, low insp. pressure, high pressure, low minute volume, high and low tidal volume, airway pressure, apnoea alarm; Large display screen with all parameters, graphics, ventilator status, alarms and power supply status; Patient range: Adult and paediatric; Manual INSP: delivers one mandatory breath; Power supply: 220-240V; internal recharegable battery- approx 60 minutes;Power supply: AC 220-230V, 50-60Hz; Power cord with 3 round pin top, Accessories: One set of reusable breathing circuit with water trap in both the limbs; Connection to humidifier and ventillator; collectors vials, Ventilator breathing circuits with water traps (Adult, paediatric and neonate); Electronic humidifier with humidification chamber, Standard cart, HME with bacterial/viral filters, test lung, and flex arm set, Software to operate the ventilator should include adult, paediatric and neonate setting. All necessary spare parts and accesaries for adult, paediatric and neonate should be included. HFO and NIPPV is optional but prefered. | COVIDIEN / MEDTRONIC | Puritan Bennette 840 | 1
97 | operating microscope | For temporal bone dissection, floor mounted with wheel base, adjustable focal length and maginification. | ZEISS | TIVATO 700® from ZEISS. | 1
98 | Drill set | Drill Set : Micromotor unit foot pedal operated- 1 piece, hand piece- straight and curved- 2 each piece. Accessories: cutting burrrounded (size: 7,6,5,4,3,2,1) -5 pieces each; cutting burr conical (7,6,5,4,3,2,1)- 5 pieces each; diamond burr- 5piece with irrigation channel | Karlstorz | Multifunction of ENT; Unidrive@ S III ENT SCB/unidrive @S III ECO. Model No; 40 7016 20 -1 | 1
99 | Suction machine- electrical | Suction unit set: tubing - 2 meters 10pieces, suction tip with different sizes: 1,2,3,4 - 10 pieces each. | Olive, Sumo, Yulwell | Handheld Suction Machine SXT-5A Portable Vacuum Absorb Pump Phlegm Suction Unit | 1
100 | Phaco machine | Irrigation: Gravity fed fluid delivery; eye pressure determined by height of irrigation source Solenoid valving element Aspiration: Peristaltic pump, 5 to 500 mmHg vacuum range, Flow rate from 2 to 50 cc / min Surgery mode with fixed or linear control from 0 to preset of the flow and / or vacuum level via Double Linear Footswitch II 0.5 to 12 s aspiration rise time Phacoemulsification: 4 Piezoelectric crystals handpiece with frequency approx. 40 kHz U/S mode with Continuous, Pulse, Burst and with fixed or linear control from 0 to preset U/S Timer / Timer EPT from 00:00:0 minutes to 59:59:9 minutes Vitrectomy: Handpieces type with pneumatically powered guillotine cutter Cutting rate from 60 to 700 cuts per minute Actuating medium with pressurized air from integrated air compressor Diathermy: Adjustable bipolar power from 9 W @ 200 Ω, 5 to 100 % Linear | Carl Zeiss Meditec AG, Germany | Visalis 100,Zeiss Release 2.0 | 1
87 |  |  |  |  | 407
Note that all appliances in the list can be used at the voltage, frequency and socket type in Bhutan.
For all items: Warranty period is a minimum of one year, Spare parts are available from the supplier.
Note on F74: ====== ID#AAAANEh1p84 (2021-07-07 08:39:35) Change quantity to 3 -Dr. Yoriko